## Mix calculations
Tracermix | [7 empty] | Bradford mix | 2023-03-05
General: | [7 empty] | Samples from curve: | 16
Basis: | 50 mmol/L Phosphate buffer + 1 mM EDTA + 10 mM DTT | [6 empty] | Samples from assay: | 8
Number of samples: | 10 |  |  | Per tracermix! |  | t3/t4 |  | Total: | 28 |  | Blanco | buffer (samples) en water (reagens)
Volume of tracermix: | 50 | µl | [8 empty] | 4
CPM per sample: | 200000 | CPM | [5 empty] | Make extra mix: | 34
Total volume: | 500 | µl | [5 empty] | Total volume needed: | 8.5 | ml
[8 empty] | Reagens (5X conc): | 1.7 | ml
Radioactive tracer T3: | [7 empty] | Water: | 6.8 | ml
Total of CPM needed: | 2000000
Tracer activity: | 80533.2 | CPM/µl | [5 empty] | Proceed according protocol:
Add to mix: | 24.8345 | --> Add 10% more = |  | 27.3179 | µl
1. Make standard curve*: 1 - 0,8 - 0,6 - 0,4 - 0,2 - 0 mg/ml BSA.
Radioactive tracer t4: | [7 empty] | 2. Dilute 5X Biorad protein acid to a 1X solution in water.
Total of CPM needed: | 2000000 | [6 empty] | 3. Pipette 5uL of your samples and standards in a 96 well ELISA plate.
Tracer activity: | 149941.8 | CPM/µl | [5 empty] | 4. Add 250µl Bradford reagens, wait 3-6 minutes and read the plate at 598nm.
Add to mix: | 13.3385 | --> Add 10% more = |  | 14.6724 |  |  |  | 5. Calculate the amount of protein (manually standard curve and all samples minus blanc) remembering to correct your samples for dilution giving amount of protein in mg/ml
Cold TH: | [7 empty] | * This can be done before hand and be alliquoted, freezing and thawing causes degradation of the protein by NaOH.
Stock: | 1 | µM | (Original stock is 10µM, diluted 10 times for easier pipetting) |  |  |  |  | Make curve in 0.1M NaOH, PBS or H2O but it should always be similar to the liquid your sample is in.
Final of tracermix: | 2 | nM | (Final in sample = 1nM when 50µl tracermix is added to 50µl sample)
Add cold 1:500 = | 2 | µl
[8 empty] | concentration curve | nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml |  |  |  | in water (want matcht beter met de phosphate buffer)
DTT | [7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Volume (incl. wash): | 8 | ml |  |  |  |  | A | concentration curve 1: BSA 2 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 2: BSA 2 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 4: SK T3 1-1; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 5: SK T3 1-2
Stock: | 1 | M |  |  |  |  | B | concentration curve 1: BSA 1.5 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 2: BSA 1.5 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 4: SK T3 2-1; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 5: SK T3 2-2
Final: | 10 | mM |  |  |  |  | C | concentration curve 1: BSA 1 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 2: BSA 1 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 4: SK T4 1-1; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 5: SK T4 1-2
Add DTT 1:100 = | 80 | µl |  |  |  |  | D | concentration curve 1: BSA 0.75 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 2: BSA 0.75 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 4: SK T4 2-1; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 5: SK T4 2-2
[7 empty] | E | concentration curve 1: BSA 0.5 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 2: BSA 0.5 mg/mL
IOP | [6 empty] | F | concentration curve 1: BSA 0.25 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 2: BSA 0.25 mg/mL
Stock | 10 | mM |  |  |  |  | G | concentration curve 1: BSA 0.125 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 2: BSA 0.125 mg/mL
Final concentration | 0.2 | mM |  |  |  |  | H | concentration curve 1: BSA 0 mg/mL; nu 2, 1.5, 1 0.75, 0.5, 0.25, 0.125, 0 mg/ml 2: BSA 0 mg/mL
Volume of tracer mix with IOP | 100 | µl
Add to mix | 2 | µl | [5 empty] | concentration curve 1: T3 1 -1 &-2 zijn duplo uit de epp die gesonificeerd zijn uit een well; in water (want matcht beter met de phosphate buffer) 9: (duplo bradford uit een well)
[8 empty] | de T3 1 & 2 zijn de verschllende wellen waar dan de metabolisme assays op zijn gebaseerd | [7 empty] | (well)
Note on B4: N.T.O.M. Dierichs: 4x Tx + 2x controle Tx Maak voor 10 per tracermix (T3/T4)

## Protein concentration
Bradford plate readout
1.534 | 1.003 |  | 0.816 | 0.823
1.311 | 1.36 |  | 0.819 | 0.814
1.005 | 1.023 |  | 0.83 | 0.862
0.957 | 1.021 |  | 0.841 | 0.861
0.779 | 0.78
0.522 | 0.535
0.447 | 0.489
0.363 | 0.363 | [7 empty] | 0.045
Standard curve
mg/ml BSA | A | B | Average | Average - blanco | [6 empty] | Samples have to fit in curve, if not dilute them |  |  | Dit niet gebruiken!
2 | 1.534 | 1.003 | 1.2685 |  | not included
1.5 | 1.311 | 1.36 | 1.3355 | 0.9725 | [6 empty] | Samples dilution 1:5 --> 2 wells in 300µl phosphate buffer
1 | 1.005 | 1.023 | 1.014 | [7 empty] | In plate = 250µl Bradford + 5µl Sample
0.75 | 0.957 | 1.021 | 0.989
0.5 | 0.779 | 0.78 | 0.7795 | [7 empty] | Dilution when scraping: | 5
0.25 | 0.522 | 0.535 | 0.5285 | [7 empty] | Dilution for bradford: | 1 | (if samples are higher then the curve)
0.125 | 0.447 | 0.489 | 0.468 | [7 empty] | Total dilution: | 5
0 | 0.363 | 0.363 | 0.363
[6 empty] | 0.84283 | slope
[6 empty] | 0.35168 | intercept |  | 0.49591 | 0.3302
average
[7 empty] | Phosphate buffer + EDTA + DTT | #DIV/0!
Protein concentration in sample
Sample | A | B | Average | Conc. (mg/ml)
SK T3 1 | 0.816 | 0.823 | 0.8195 | 0.55506
SK T3 2 | 0.819 | 0.814 | 0.8165 | 0.5515
SK T4 1 | 0.83 | 0.862 | 0.846 | 0.5865
SK T4 2 | 0.841 | 0.861 | 0.851 | 0.59243
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!

## Conversion Deio2
08/06/2021 NPC WTC1c
Name | I (1.3) | T1 (2.9) | 3,3'-T2 (5.7) | T3 (8.1) | rT3 (8.9) | T4 (11.5) | Som | %I | %T1 | %T2 | %T3 | %rT3 | %T4
T4 Tracer A | [5 empty] | 5634970 | 5634970 | 0 | 0 | 0 | 0 | 0 | 100
T4 Tracer B | [5 empty] | 5868553 | 5868553 | 0 | 0 | 0 | 0 | 0 | 100
SK 1-1 | [5 empty] | 5347995 | 5347995 | 0 | 0 | 0 | 0 | 0 | 100
SK1-2 | [5 empty] | 5523338 | 5523338 | 0 | 0 | 0 | 0 | 0 | 100
SK 2-1 | [5 empty] | 5113984 | 5113984 | 0 | 0 | 0 | 0 | 0 | 100
SK 2-2 | [5 empty] | 5563731 | 5563731 | 0 | 0 | 0 | 0 | 0 | 100 | #NAME?
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Analysis D2
sample |  | Time incubation (min) | dilution | protein concentration mg/ml |  |  | %Ia | %Ib | %Iav | %Inet A | %Inet B | %Inet avg | %T1a | %T1b | %T1av | %T1net A | %T1net B | %T1net avg | %T2a | %T2b | %T2av | %T2net A | %T2net B | %T2net avg | %T3a | %T3b | %T3av | %T3net A | %T3net B | %T3net avg | %rT3a | %rT3b | %rT3av | %rT3net A | %rT3net B | %rT3net avg | %T4a | %T4b | %T4av | %T4net A | %T4net B | %T4net avg
| Tracer | [5 empty] | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  |  | 100 | 100 | 100
[6 empty] | SD |  |  | 0
1 | SKNAS 1 | 120 |  |  | 0.5865 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 0 | 0 | 0
[6 empty] | SD |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
2 | SKNAS 2 | 120 |  |  | 0.59243 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 0 | 0 | 0
[6 empty] | SD |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | [5 empty] | 0 | [5 empty] | 0 |  |  | 0 |  |  | 0
3 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | SD |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
4 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | SD |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
5 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | SD |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
6 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | SD |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
7 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
8 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
|  | D2 (%T3 net) A | D2 (%T3 net) B | fmol/min/mg A | fmol/min/mg B | fmol/min/mg average |  | SD
Formula
| SKNAS 1 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | 0 | 0 | 0 | 0 | 0 |  | 0
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | [9 empty] | We add 1 nM of cold T3 |  |  | 1 nM = 10^6 fmol/L
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
(〖10〗^6 𝑓𝑚𝑜𝑙)/𝐿×1𝐿/(〖10〗^6 𝜇𝐿)×100𝜇𝐿 𝑠𝑎𝑚𝑝𝑙𝑒=100 𝑓𝑚𝑜𝑙 𝑇3
(100 𝑓𝑚𝑜𝑙 𝑇3)/((60 𝑚𝑖𝑛)/(𝑚𝑔/𝑚𝐿))=(100 𝑓𝑚𝑜𝑙 𝑇3)/((60 𝑚𝑖𝑛)/(0.1 𝑚𝐿 𝑠𝑎𝑚𝑝𝑙𝑒×𝑚𝑔/𝑚𝐿))=(100 𝑓𝑚𝑜𝑙 𝑇3)/((60 𝑚𝑖𝑛)/(0.1 𝑚𝑔))= (1000 𝑓𝑚𝑜𝑙 𝑇3)/((60 𝑚𝑖𝑛)/𝑚𝑔)
Note on E26: N.T.O.M. Dierichs: let op! Moet (nu nog aanpassen) *2000 ipv * 1000 want je voegt 50 ul sample toe, niet 100 (100 is totaal volume)

## Conversion Deio3
08/06/2021 NPC WTC1c
Name | I (1.3) | T1 (2.9) | 3,3'-T2 (5.7) | T3 (8.1) | rT3 (8.9) | T4 (11.5) | Som | %I | %T1 | %T2 | %T3 | %rT3 | %T4
T3 Tracer A | 388439 |  |  | 5417680 |  |  | 5806119 | 6.6902 | 0 | 0 | 93.3098 | 0 | 0
T3 Tracer B | 402417 |  |  | 4995309 |  |  | 5397726 | 7.4553 | 0 | 0 | 92.5447 | 0 | 0
SK 1-1 | 310568 |  | 278823 | 4546678 |  |  | 5136069 | 6.0468 | 0 | 5.4287 | 88.5245 | 0 | 0
SK1-2 | 256544 |  | 170434 | 5310401 |  |  | 5737379 | 4.4714 | 0 | 2.9706 | 92.558 | 0 | 0
SK 2-1 | 297044 |  | 309734 | 4825645 |  |  | 5432423 | 5.468 | 0 | 5.7016 | 88.8304 | 0 | 0
SK 2-2 | 359174 |  | 492590 | 4482685 |  |  | 5334449 | 6.7331 | 0 | 9.2341 | 84.0328 | 0 | 0 | #NAME?
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Analysis D3
sample |  | Time incubation (min) | dilution | protein concentration mg/ml |  |  | %Ia | %Ib | %Iav | %Inet A | %Inet B | %Inet avg | %T1a | %T1b | %T1av | %T1net A | %T1net B | %T1net avg | %T2a | %T2b | %T2av | %T2net A | %T2net B | %T2net avg | %T3a | %T3b | %T3av | %T3net A | %T3net B | %T3net avg | %rT3a | %rT3b | %rT3av | %rT3net A | %rT3net B | %rT3net avg | %T4a | %T4b | %T4av | %T4net A | %T4net B | %T4net avg
| Tracer | [5 empty] | 6.6902 | 7.4553 | 6.6902 |  |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  |  | 93.3098 | 92.5447 | 93.3098 |  |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
[6 empty] | SD |  |  | 0.54104
1 | SKNAS 1 | 120 |  |  | 0.55506 |  | 6.0468 | 4.4714 | 5.2591 | -0.64336 | -2.2187 | -1.431 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4287 | 2.9706 | 4.1997 | 5.4287 | 2.9706 | 4.1997 | 88.5245 | 92.558 | 90.5412 | -4.7854 | -0.75187 | -2.7686 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | #REF! | #REF! | 0 | #REF!
[6 empty] | SD |  |  | 1.1139 |  |  | 1.1139 |  |  | 0 |  |  | 0 |  |  | 1.7382 |  |  | 1.7382 |  |  | 2.8521 |  |  | 2.8521 | [8 empty] | #REF! |  |  | #REF!
2 | SKNAS 2 | 120 |  |  | 0.5515 |  | 5.468 | 6.7331 | 6.1005 | -1.2222 | 0.042938 | -0.58962 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7016 | 9.2341 | 7.4679 | 5.7016 | 9.2341 | 7.4679 | 88.8304 | 84.0328 | 86.4316 | -4.4794 | -9.2771 | -6.8782 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[6 empty] | SD |  |  | 0.89458 |  |  | 0.89458 |  |  | 0 |  |  | 0 |  |  | 2.4979 |  |  | 2.4979 | [5 empty] | 3.3925
3 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | SD |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! | [8 empty] | 0 |  |  | 0
4 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[6 empty] | SD |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
5 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[6 empty] | SD |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
6 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[6 empty] | SD |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
7 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[6 empty] | SD |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
8 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[6 empty] | SD |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0! |  |  | #DIV/0!
|  | D3 (%T1+T2net) A | D3 (%T1+T2net) B | fmol/min/mg A | fmol/min/mg B | fmol/min/mg average |  | SD
Formula
| SKNAS1 | 5.4287 | 2.9706 | 1.7469 | 0.95593 | 1.3514 |  | 0.55934
| SKNAS 2 | 5.7016 | 9.2341 | 1.8466 | 2.9907 | 2.4186 |  | 0.809
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | [9 empty] | We add 1 nM of cold T3 |  |  | 1 nM = 10^6 fmol/L
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
(〖10〗^6 𝑓𝑚𝑜𝑙)/𝐿×1𝐿/(〖10〗^6 𝜇𝐿)×100𝜇𝐿 𝑠𝑎𝑚𝑝𝑙𝑒=100 𝑓𝑚𝑜𝑙 𝑇3
(100 𝑓𝑚𝑜𝑙 𝑇3)/((60 𝑚𝑖𝑛)/(𝑚𝑔/𝑚𝐿))=(100 𝑓𝑚𝑜𝑙 𝑇3)/((60 𝑚𝑖𝑛)/(0.1 𝑚𝐿 𝑠𝑎𝑚𝑝𝑙𝑒×𝑚𝑔/𝑚𝐿))=(100 𝑓𝑚𝑜𝑙 𝑇3)/((60 𝑚𝑖𝑛)/(0.1 𝑚𝑔))= (1000 𝑓𝑚𝑜𝑙 𝑇3)/((60 𝑚𝑖𝑛)/𝑚𝑔)
Note on E38: N.T.O.M. Dierichs: let op! Moet (nu nog aanpassen) *2000 ipv * 1000 want je voegt 50 ul sample toe, niet 100 (100 is totaal volume)