Cell culture:

- Plate 24-wells plates

- Seeding density per cell type according to seeding density

- 500 µL per well

- Keep in incubator for 48 hours before use for transporter assay

Materials:

- Fill in calculation sheet

- Flask PBS +/+ calcium magnesium with 0.1% Glucose

- Flask PBS +/+ calcium magnesium with 0.1% Glucose and 0.1% BSA

- Cold T3 stock

- Cold T4 stock

- Radioactive T3

- Radioactive T4

- A 50 mL tube per tracer mix

- 15 ml tubes or Eppendorf tubes for incubation mixes depending on total amount needed

- 0.1 M NaOH (500 uL per well needed, made by diluting 1 M NaOH stock in MilliQ)

- Measuring tubes for gamma counter

- Lead on top of your workbench for protection

Working in the C-lab:

Turn on Geiger counter and often check for radioactive contaminations on gloves while working!!

Determining amount of CPM in stock

- Prepare measuring tubes of gamma counter

- Take radioactive T3 and/or T4 from the fridge

- Add 5 µL of radioactive TH in corresponding measuring tube

- Count in Gamma counter for 1 minute (do not forget the stop codon tray)

- Calculate amount of counts needed for your tracer mix (50000 CMP per sample + extra)

- Calculate the µl needed from the stock to reach this amount of CPMs (needed CPM/(CPM stock/5))

Preparatoir of incubatie mixers

- Prepare 50 mL tubes for the tracer mixes

- Add the correct amount of (1.) Buffer (PBS) (2.) Cold T3 of T4 and (3.) Stock radioactive T3 or T4 in the 50 mL tubes according to calculations on sheet

- Add 75 µL of the tracer mix in a measuring tube and measure for 1 minute

- Check the amount of counts: with 50000 CPM per well you should have 10000 CPM in 75 µL tracer mix. Adjust if necessary (more than 1000 cpm difference with the wanted value) by adding radioactive TH or buffer+cold TH till correct amount of cpm per ml is reached.

- Add the amount of tracer mix needed per incubation mix according to calculations in excel.

- Add the correct amount of EDC to the incubation mix according to the calculations in excel.

Cell exposure

- Use transporter box from the C-lab to transport cultured cells to incubator in the C-lab

- Aspirate medium

- Wash with PBS without BSA

- Add 375 µL incubation mix on the cells for 10 minutes, use the timer, precision is important

- Put incubation mix into a measuring tube after the 10 minutes

- Wash cells with PBS with BSA

- QUICKLY aspirate PBS (to prevent efflux of T3 out of the cell) and then cells can be kept on the side till lysing

- Lyse with met 500 µL NaOH (handy step position 2)

- Leave NaOH on the cells for 15 minutes

Measuring the samples

- Resuspend the sample and then add into a measuring tube

- Also measure the leftover of the tracer mix (2x75 uL or 375 uL depending on amount possible) and incubation mixes (2x75 uL)

- Measure the tubes for 5 minutes (do not forget to add the stop codon tray after the last measuring tubes)