## Mix calculations
Bradford mix
Samples from curve: | 12
Samples from assay: | 1
Total: | 13
Make extra mix: | 14
Total volume needed: | 3.5 | ml
Reagens (5X conc): | 0.7 | ml
Water: | 2.8 | ml
Proceed according protocol:
1. Make standard curve*: 2 - 1.5 - 1 - 0.75 - 0.5 - 0.25 - 0.125 - 0 0 mg/ml BSA.
2. Dilute 5X Biorad protein acid to a 1X solution in water.
3. Pipette 5uL of your samples and standards in a 96 well ELISA plate.
4. Add 250µl Bradford reagens, wait 3-6 minutes and read the plate at 598nm.
5. Calculate the amount of protein (manually standard curve and all samples minus blanc) remembering to correct your samples for dilution giving amount of protein in mg/ml
* This can be done before hand and be alliquoted, freezing and thawing causes degradation of the protein by NaOH.
Make curve in 0.1M NaOH, PBS or H2O but it should always be similar to the liquid your sample is in.
| EXAMPLE plate-set up | [7 empty] | Bij bradford ook een duplo per sample
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| BSA 2 mg/mL | BSA 2 mg/mL | T3 no BSA 2-1 | T3 no BSA 2-1 | T3 no BSA 2-2 | T3 no BSA 2-2 | T4 no BSA 2-1 | T4 no BSA 2-1 | T4 no BSA 2-2 | T4 no BSA 2-2 | T3 BSA 2-1 | T3 BSA 2-1
| BSA 1.5 mg/mL | BSA 1.5 mg/mL | T3 no BSA 5-1 | T3 no BSA 5-1 | T3 no BSA 5-2 | T3 no BSA 5-2 | T4 no BSA 5-1 | T4 no BSA 5-1 | T4 no BSA 5-2 | T4 no BSA 5-2 | T3 BSA 5-1 | T3 BSA 5-1
| BSA 1 mg/mL | BSA 1 mg/mL | T3 no BSA 10-1 | T3 no BSA 10-1 | T3 no BSA 10-2 | T3 no BSA 10-2 | T4 no BSA 10-1 | T4 no BSA 10-1 | T4 no BSA 10-2 | T4 no BSA 10-2 | T3 BSA 10-1 | T3 BSA 10-1
| BSA 0.75 mg/mL | BSA 0.75 mg/mL | T3 no BSA 30-1 | T3 no BSA 30-1 | T3 no BSA 30-2 | T3 no BSA 30-2 | T4 no BSA 30-1 | T4 no BSA 30-1 | T4 no BSA 30-2 | T4 no BSA 30-2 | T3 BSA 30-1 | T3 BSA 30-1
| BSA 0.5 mg/mL | BSA 0.5 mg/mL | T3 no BSA 60-1 | T3 no BSA 60-1 | T3 no BSA 60-2 | T3 no BSA 60-2 | T4 no BSA 60-1 | T4 no BSA 60-1 | T4 no BSA 60-2 | T4 no BSA 60-2 | T3 BSA 60-1 | T3 BSA 60-1
| BSA 0.25 mg/mL | BSA 0.25 mg/mL | T3 BSA 2-2 | T3 BSA 2-2 | T3 BSA 30-2 | T3 BSA 30-2 | T4 BSA 5-1 | T4 BSA 5-1 | T4 BSA 60-1 | T4 BSA 60-1 | T4 BSA 10-1 | T4 BSA 10-1
| BSA 0.125 mg/mL | BSA 0.125 mg/mL | T3 BSA 5-2 | T3 BSA 5-2 | T3 BSA 60-2 | T3 BSA 60-2 | T4 BSA 10-1 | T4 BSA 10-1 | T4 BSA 2-1 | T4 BSA 2-1 | T4 BSA 30-1 | T4 BSA 30-1
| BSA 0 mg/mL | BSA 0 mg/mL | T3 BSA 10-2 | T3 BSA 10-2 | T4 BSA 2-1 | T4 BSA 2-1 | T4 BSA 30-1 | T4 BSA 30-1 | T4 BSA 5-1 | T4 BSA 5-1 | T4 BSA 60-1 | T4 BSA 60-1